READY TO RESPOND DISASTER STAFFING TOOLKIT

Building Shutdown and Re-open

Checklist

Use this checklist when shutting down a building and site before a disaster and to re-open it when it’s safe to do so. Consult with your engineer and vendors to customize this list to your building and its needs.

| Building address: |  |  |  |
| --- | --- | --- | --- |
| Building Protection Team Leader: |  |  | Date: |
| Phone number: |  | Email |  |

| Electrical |  |  |  |
| --- | --- | --- | --- |
| Tasks | Initial when complete | Time shutdown | Time re-open |
| Electrical service entry points protected. |  |  |  |
| If no utility power, ensure arrangement for a backup generator with at least three days’ power. |  |  |  |
| Protect all circuitry and connections for switch gear. |  |  |  |
| Building emergency lighting in common areas, such as hallways, utility rooms, flood lighting and office. |  |  |  |
| Review proper shutdown procedures on equipment per manufacturer’s specification to prevent surging. |  |  |  |
| Emergency backup power engaged, with at least a three day supply of fuel in place and safely stored. |  |  |  |
| Disengage emergency door alarm to allow for resident entry and exit. |  |  |  |
| Engage transfer switch for generator. |  |  |  |
| Notes |  |  |  |

Enterprise Community Partners, Inc.

| Mechanical Air Handling |  |  |  |
| --- | --- | --- | --- |
| Tasks | Initial when complete | Time shutdown | Time re-open |
| Engage automatic controls and monitoring systems. |  |  |  |
| Roof-mounted equipment secured. |  |  |  |
| Battery-powered backup smoke alarm system engaged and batteries checked. |  |  |  |
| Notes |  |  |  |

| Site Perimeter |  |  |  |
| --- | --- | --- | --- |
| Tasks | Initial when complete | Time shutdown | Time re-open |
| All freestanding equipment and materials including patio furniture and loose tools tied down or anchored. |  |  |  |
| Protect perimeter with sand bags, perimeter flood protection, flood gates. |  |  |  |
| Windows fastened and secured. |  |  |  |
| Notes |  |  |  |

Enterprise Community Partners, Inc.

| Elevators |  |  |  |
| --- | --- | --- | --- |
| Tasks | Initial when complete | Time shutdown | Time re-open |
| Elevators shutdown and recalled above flood level. |  |  |  |
| Notes |  |  |  |

| Fuel |  |  |  |
| --- | --- | --- | --- |
| Tasks | Initial when complete | Time shutdown | Time re-open |
| Place fuel storage tanks in a safe area and tighten valve caps. |  |  |  |
| Remove chemicals from benches and shelves and store in a secure area. |  |  |  |
| Notes |  |  |  |

Enterprise Community Partners, Inc.

| Resident Communication |  |  |  |
| --- | --- | --- | --- |
| Tasks | Initial when complete | Time shutdown | Time re-open |
| Have backup copies of all keys. |  |  |  |
| Work with Resident Engagement Team Leader to alert residents not to deposit trash in compactors until further notice. |  |  |  |
| Work with Resident Engagement Team Leader to communicate to residents not to flush toilets if one-way check valve engaged. |  |  |  |
| Work with Resident Engagement Team Leader to ask residents to remove air conditioners and all other items from windows and balcony ledges. |  |  |  |
| If intercom disconnected, work with Resident Engagement Team Leader to ensure other communications systems are in place to contact residents. |  |  |  |
| Notes |  |  |  |

| Other |  |  |  |
| --- | --- | --- | --- |
| Tasks | Initial when complete | Time shutdown | Time re-open |
| Move building, specs, plans, operational manuals and vital records to a secure location. |  |  |  |
| Relocate all vehicles to higher ground. |  |  |  |
| Notes |  |  |  |

Enterprise Community Partners, Inc.